## Rock stage-flow
Project Name |  | Example Project
Stage Discharge for Rock Ditch Checks
Stone Type |  | Washed Stone
Graphical Method (user input area are shaded in Gray)
Governing Equation: dh/dl = aq^b
Metric
|  | Dam Height (ft) | 2 | 0.6096 | *Max dam height = 2ft
|  | Top Dam Flow Length (ft) | 4 | 1.2192 | *Minimum top flow length = 2 ft
|  | Rock Side Slopes (x:1) | 4 |  | *Maximum Side slopes = 1:1
|  | Rock Diameter D50 (inches) | 6 | 0.1524
|  | Bottom Dam Width (ft) | 3 | 0.9144
|  | Soil-Rock Side Slope (x:1) | 3
Depth | Depth dh | Flow Length dl (m) | Coefficient | Exponent | Flow q | Flow Width | Total Flow
(ft) | (m) | (m) | a | b | (m^2 / sec) | (ft) | cfs
0 | 0 | 6.096 | #VALUE! | #VALUE! | #VALUE! | 3 | #VALUE!
0.25 | 0.0762 | 5.4864 | #VALUE! | #VALUE! | #VALUE! | 4.5 | #VALUE!
0.5 | 0.1524 | 4.8768 | #VALUE! | #VALUE! | #VALUE! | 6 | #VALUE!
0.75 | 0.2286 | 4.2672 | #VALUE! | #VALUE! | #VALUE! | 7.5 | #VALUE!
1 | 0.3048 | 3.6576 | #VALUE! | #VALUE! | #VALUE! | 9 | #VALUE!
1.25 | 0.381 | 3.048 | #VALUE! | #VALUE! | #VALUE! | 10.5 | #VALUE!
1.5 | 0.4572 | 2.4384 | #VALUE! | #VALUE! | #VALUE! | 12 | #VALUE!
1.75 | 0.5334 | 1.8288 | #VALUE! | #VALUE! | #VALUE! | 13.5 | #VALUE!
1.8 | 0.54864 | 1.7069 | #VALUE! | #VALUE! | #VALUE! | 13.8 | #VALUE!
2 | 0.6096 | 1.2192 | #VALUE! | #VALUE! | #VALUE! | 15 | #VALUE!
| Stage | Discharge Q
| (ft) | (cfs)
| 0 | 0
| 0.25 | #VALUE!
| 0.5 | #VALUE!
| 0.75 | #VALUE!
| 1 | #VALUE!
| 1.25 | #VALUE!
| 1.5 | #VALUE!
| 1.75 | #VALUE!
| 2 | #VALUE!

## lookup_table
|  | dl= 1m | dl = 2m | dl = 3m
Stone D50 (m) | Exponent b | Coefficient a | Coefficient a | Coefficient a
|  | 1 | 2 | 3
0.01 | 0.6371 | 9.4 | 6.05 | 4.6
0.02 | 0.654 | 7.4 | 4.65 | 3.55
0.03 | 0.6589 | 6.4 | 4.08 | 3.08
0.04 | 0.6609 | 5.85 | 3.65 | 2.8
0.05 | 0.6624 | 5.4 | 3.35 | 2.6
0.06 | 0.6635 | 5.05 | 3.15 | 2.4
0.08 | 0.6644 | 4.5 | 2.85 | 2.2
0.09 | 0.6648 | 4.28 | 2.7 | 2.1
0.1 | 0.6651 | 4.13 | 2.6 | 2.05
0.2 | 0.6662 | 3.2 | 2.05 | 1.57
0.3 | 0.6664 | 2.8 | 1.75 | 1.3
0.4 | 0.6665 | 2.5 | 1.55 | 1.16
0.5 | 0.6666 | 2.3 | 1.4 | 1.08
0.001 | d15 | #VALUE! | coef_a
3.5 | L | #VALUE! | coef_b